## Asset Inventory
Project Name: |  |  |  | E-Builder Project ID: |  |  | Submitted by: |  |  |  | Date Submitted:
NEW ASSETS: By preliminary design, request a block of AiM asset tag ID numbers from FM-PREVENTIVE-MAINT@VIRGINIA.EDU based on the estimated number of maintainable/tracked assets in the project. If individually listed on an equipment schedule, it should receive a unique AiM ID number. Project design engineer then assigns the reserved asset tag ID numbers and appropriate asset groups to equipment. Coordinate asset IDs on equipment schedules, submittals, and this asset form. (University Design Guidelines § 1.5.5)
DEMOLITION: Return a list of any removed assets to Preventive Maintenance so they can be deactivated. If you need help identifying asset numbers for demolition, e-mail FM-PREVENTIVE-MAINT@VIRGINIA.EDU for a list of existing assets in the system for a given property. (University Design Guidelines § 1.5.5)
BARCODES: When ready to apply barcodes to equipment, return spreadsheet to the FM-PREVENTIVE-MAINT@VIRGINIA.EDU for final review. Per the University Design Guidelines, the Project Team is responsible for applying barcode stickers to any installed equipment that requires routine or preventative maintenance by FM. Barcoded stickers will be printed by the Preventive Maintenance department and left in the lower level of Leake Building or at HSPP Customer Support Center for the Project Team to pick up and install. (University Design Guidelines § 1.5.5)
ALL HIGHLIGHTED FIELDS ARE REQUIRED. INSERT OR ADD AS MANY ADDITIONAL COLUMNS AS DESIRED.
Asset Group ID | Equipment Description | AiM Asset ID | AiM Asset Parent ID | Replaces AiM Asset ID | Property # | Room # | Manufacturer | Model | Serial # | Purchase Date | Warranty End Date | Extra Description

## Asset Groups
Unless explicitly noted otherwise in Notes (column C), all assets should be listed individually on the Asset Turnover Form. For questions concerning Asset Group assignment, contact FM-PREVENTIVE-MAINT@virginia.edu.
Asset Group | Asset Group Description | Notes
SUPERSTRUCTURE
B1015-610 | RAMPS, HANDICAP ACCESS | Handicap access ramps are assigned one asset ID per property. Report the number of ramps and their locations in Extra Description column.
B1015-700 | BALCONIES | Balconies are assigned one asset ID per property. Report the number of balconies and their locations in Extra Description column.
EXTERIOR ENCLOSURE
B2035-110 | DOORS, ELECTRIC
B2035-140 | DOORS, HANDICAP ACCESS
ROOFING
B3015 | ROOF SYSTEMS | Include the roof system on the Asset Inventory tab and submit warranty information with this form as well as to Roof Program Manager.
INTERIOR CONSTRUCTION
C1025-110 | FIRE DOOR(S)
CONVEYING
D1015-100 | ELEVATOR, ELECTRIC, PASS/FREIGHT | Please include a row for each elevator on the "Asset Inventory" spreadsheet. FM's Elevator Shop handles all elevator maintenance, and they have requested that all barcode stickers be delivered to, and installed by, their staff. The Preventive Maintenance Department does not deliver barcode stickers for elevators to the Project Team. The PM Department creates AiM asset records on a first-come-first-served basis. It is possible that the Elevator Shop has already informed the PM Department of a new elevator that is also included on the Asset Turnover Form. In any case, please include the elevator on the "Asset Inventory" spreadsheet, but be aware that the six-digit AiM asset ID assigned by the Project Team may be different from the actual six-digit ID already assigned at an earlier date and, therefore, the Project Team's asset ID may need to be updated.
D1015-110 | ELEVATOR, HYDRAULIC, PASS/FREIGHT | Please include a row for each elevator on the "Asset Inventory" spreadsheet. FM's Elevator Shop handles all elevator maintenance, and they have requested that all barcode stickers be delivered to, and installed by, their staff. The Preventive Maintenance Department does not deliver barcode stickers for elevators to the Project Team. The PM Department creates AiM asset records on a first-come-first-served basis. It is possible that the Elevator Shop has already informed the PM Department of a new elevator that is also included on the Asset Turnover Form. In any case, please include the elevator on the "Asset Inventory" spreadsheet, but be aware that the six-digit AiM asset ID assigned by the Project Team may be different from the actual six-digit ID already assigned at an earlier date and, therefore, the Project Team's asset ID may need to be updated.
D1015-310 | WHEELCHAIR LIFT | Please include a row for each lift on the "Asset Inventory" spreadsheet. FM's Elevator Shop handles all lift maintenance, and they have requested that all barcode stickers be delivered to, and installed by, their staff. The Preventive Maintenance Department does not deliver barcode stickers for lifts to the Project Team. The PM Department creates AiM asset records on a first-come-first-served basis. It is possible that the Elevator Shop has already informed the PM Department of a new lift that is also included on the Asset Turnover Form. In any case, please include the lift on the "Asset Inventory" spreadsheet, but be aware that the six-digit AiM asset ID assigned by the Project Team may be different from the actual six-digit ID already assigned at an earlier date and, therefore, the Project Team's asset ID may need to be updated.
D1015-320 | STAIR LIFT | Please include a row for each lift on the "Asset Inventory" spreadsheet. FM's Elevator Shop handles all lift maintenance, and they have requested that all barcode stickers be delivered to, and installed by, their staff. The Preventive Maintenance Department does not deliver barcode stickers for lifts to the Project Team. The PM Department creates AiM asset records on a first-come-first-served basis. It is possible that the Elevator Shop has already informed the PM Department of a new lift that is also included on the Asset Turnover Form. In any case, please include the lift on the "Asset Inventory" spreadsheet, but be aware that the six-digit AiM asset ID assigned by the Project Team may be different from the actual six-digit ID already assigned at an earlier date and, therefore, the Project Team's asset ID may need to be updated.
D1015-330 | STAGE LIFT | Please include a row for each lift on the "Asset Inventory" spreadsheet. FM's Elevator Shop handles all lift maintenance, and they have requested that all barcode stickers be delivered to, and installed by, their staff. The Preventive Maintenance Department does not deliver barcode stickers for lifts to the Project Team. The PM Department creates AiM asset records on a first-come-first-served basis. It is possible that the Elevator Shop has already informed the PM Department of a new lift that is also included on the Asset Turnover Form. In any case, please include the lift on the "Asset Inventory" spreadsheet, but be aware that the six-digit AiM asset ID assigned by the Project Team may be different from the actual six-digit ID already assigned at an earlier date and, therefore, the Project Team's asset ID may need to be updated.
D1035-310 | LOADING DOCK - DOCK LEVELER | Please include a row for each dock leveler on the "Asset Inventory" spreadsheet. FM's Elevator Shop handles all dock leveler maintenance, and they have requested that all barcode stickers be delivered to, and installed by, their staff. The Preventive Maintenance Department does not deliver barcode stickers for dock levelers to the Project Team. The PM Department creates AiM asset records on a first-come-first-served basis. It is possible that the Elevator Shop has already informed the PM Department of a new dock leveler that is also included on the Asset Turnover Form. In any case, please include the lift on the "Asset Inventory" spreadsheet, but be aware that the six-digit AiM asset ID assigned by the Project Team may be different from the actual six-digit ID already assigned at an earlier date and, therefore, the Project Team's asset ID may need to be updated.
D1035-320 | LOADING DOCK - SCISSOR LIFT | Please include a row for each scissor lift on the "Asset Inventory" spreadsheet. FM's Elevator Shop handles all scissor lift maintenance, and they have requested that all barcode stickers be delivered to, and installed by, their staff. The Preventive Maintenance Department does not deliver barcode stickers for scissor lifts to the Project Team. The PM Department creates AiM asset records on a first-come-first-served basis. It is possible that the Elevator Shop has already informed the PM Department of a new scissor lift that is also included on the Asset Turnover Form. In any case, please include the lift on the "Asset Inventory" spreadsheet, but be aware that the six-digit AiM asset ID assigned by the Project Team may be different from the actual six-digit ID already assigned at an earlier date and, therefore, the Project Team's asset ID may need to be updated.
D1095-100 | DUMBWAITER ELECTRIC | Please include a row for each dumbwaiter on the "Asset Inventory" spreadsheet. FM's Elevator Shop handles all dumbwaiter maintenance, and they have requested that all barcode stickers be delivered to, and installed by, their staff. The Preventive Maintenance Department does not deliver barcode stickers for dumbwaiters to the Project Team. The PM Department creates AiM asset records on a first-come-first-served basis. It is possible that the Elevator Shop has already informed the PM Department of a new dumbwaiter that is also included on the Asset Turnover Form. In any case, please include the dumbwaiter on the "Asset Inventory" spreadsheet, but be aware that the six-digit AiM asset ID assigned by the Project Team may be different from the actual six-digit ID already assigned at an earlier date and, therefore, the Project Team's asset ID may need to be updated.
D1095-120 | MATERIAL LIFT | Please include a row for each lift on the "Asset Inventory" spreadsheet. FM's Elevator Shop handles all lift maintenance, and they have requested that all barcode stickers be delivered to, and installed by, their staff. The Preventive Maintenance Department does not deliver barcode stickers for lifts to the Project Team. The PM Department creates AiM asset records on a first-come-first-served basis. It is possible that the Elevator Shop has already informed the PM Department of a new lift that is also included on the Asset Turnover Form. In any case, please include the lift on the "Asset Inventory" spreadsheet, but be aware that the six-digit AiM asset ID assigned by the Project Team may be different from the actual six-digit ID already assigned at an earlier date and, therefore, the Project Team's asset ID may need to be updated.
D1095-200 | PNEUMATIC TUBE SYSTEM | List all tube systems individually. Identify whether each equipment is station, blower, or transfer unit.
D1095-300 | CONVEYOR
PLUMBING
D2015-800 | DRINKING FOUNTAIN
D2015-910 | EMERGENCY WASH STATION
D2025 | DOMESTIC WATER DISTRIBUTION | This asset group specifically refers to assets that are components of building systems. For assets that are for building-related sitework and will be maintained by Utilities Distribution, see G3011-100.
D2025-150 | VALVE, MOTOR OPERATED
D2025-240 | STORAGE TANK; DOMESTIC HOT WATER
D2025-260 | WATER HEATER, GAS/OIL/STEAM/ELECTRIC
D2025-261 | WATER HEATER, TANKLESS
D2025-265 | VALVE, PRESSURE REGULATOR
D2025-270 | VALVE, SEDIMENT STRAINER
D2025-280 | WATER FILTER
D2025-310 | HOSE BIBB
D2025-320 | DOMESTIC WATER DISTRIBUTION METER | Please include a row for each meter on the "Asset Inventory" spreadsheet. While the Preventive Maintenance Department does assign a six-digit AiM asset ID to all meters, meter inspections and maintenance are performed by FM's Metering Shop, which they track using their own unique alphanumeric Meter ID rather than AiM's six-digit asset ID. For that reason, the PM Department does not print barcode stickers for meters. The PM Department creates AiM asset records on a first-come-first-served basis. It is possible that the Metering Shop has already informed the PM Department of a new meter that is also included on the Asset Turnover Form. In any case, please include the meter on the "Asset Inventory" spreadsheet, but be aware that the six-digit AiM asset ID assigned by the Project Team may be different from the actual six-digit ID already assigned at an earlier date and, therefore, the Project Team's asset ID may need to be updated.
D2025-350 | BFP DOMESTIC WATER
D2025-370 | WATER SOFTENER
D2025-400 | DOMESTIC WATER CIRCULATING PUMP
D2035-300 | SEWAGE PIPE NETWORK
D2035-310 | FLOOR DRAIN
D2035-400 | BUILDING SEWAGE SYSTEM PUMP
D2035-500 | SANITARY WASTE GREASE TRAP
D2045-110 | DISTRIBUTION GUTTERS | Distribution gutters are assigned one asset ID per property. Report the number of gutters and their locations in Extra Description column.
D2095-100 | PUMP VACUUM | Indicate if pump vacuum is water sealed or not.
D2095-150 | VACUUM TANK
D2095-310 | PROCESS WATER SYSTEM
D2095-330 | DEIONISED WATER SYSTEM
D2095-332 | REVERSE OSMOSIS DEIONISED WATER SYSTEM (RODI)
D2095-340 | WATER STERILIZER
D2095-905 | PUMP DUPLEX SUMP
D2095-910 | PUMP SUBMERSIBLE
D2095-915 | CONTAMINATED WASTE TANK
D2095-920 | MED GAS SYSTEM | Each of the following components should receive their own asset ID: Medical Gas Alarms, Manifold, Nitrogen System, Nitrous Oxide System, Zone Valve, Service Valve, Riser, Outlets (outlet locations should be listed in column for Extra Description - column M)
D2095-922 | MED GAS VALVES | Med gas valves are assigned one asset ID per property. Report the number of valves and their locations in Extra Description column.
D2095-930 | OXYGEN SYSTEM | Provide manifold number.
D2095-946 | AIR COMPRESSOR
D2095-948 | AIR TANK | Indicate if the equipment considered a high pressure vessel per Virginia state regulations.
HVAC
D3015-210 | NATURAL GAS PIPE AND FITTINGS | Title V Air Permit ID (xxxx-x-xx) required from Environmental Compliance
D3015-215 | NATURAL GAS METER
D3025-110 | BOILER, HOT WATER, ELECTRIC
D3025-120 | BOILER, STEAM, ELECTRIC
D3025-130 | BOILER, HOT WATER, OIL/GAS/COMB | Title V Air Permit ID (xxxx-x-xx) required from Environmental Compliance
D3025-140 | BOILER, STEAM, OIL/GAS/COMB | Title V Air Permit ID (xxxx-x-xx) required from Environmental Compliance
D3025-294 | FEED WATER SUPPLY
D3025-296 | DEAERATOR
D3025-310 | HEAT GENERATING SYSTEM PUMPS
D3025-320 | HOT WATER METER
D3025-330 | LOW TEMPERATURE HOT WATER LOOP | Specify material: aluminum or other This asset group specifically refers to assets that are components of building systems. For assets that are for building-related sitework and will be maintained by Utilities Distribution, see G3043-100.
D3025-340 | STEAM VALVES | Steam valves are assigned one asset ID per property. Report the number of valves and their locations in Extra Description column. This asset group specifically refers to assets that are components of building systems. For assets that are for building-related sitework and will be maintained by Utilities Distribution, see G3041-115.
D3025-391 | FUEL OIL METER
D3025-395 | FUEL OIL PUMPS
D3035 | COOLING GENERATING SYSTEM
D3035-110 | COOLING TOWER
D3035-113 | COOLING TOWER SUMP HEATER
D3035-130 | CHILLER, RECIP., AIR COOLED
D3035-135 | CHILLER, RECIP., WATER COOLED
D3035-140 | CHILLER, CENTRIF., WATER COOLED
D3035-160 | CHILLER, SCREW, WATER, COOLED
D3035-170 | EVAPORATIVE COOLER
D3035-210 | CONDENSER, AIR COOLED
D3035-220 | CONDENSER, VRF (VARIABLE REFRIGERANT FLOW)
D3035-290 | FLUID COOLER
D3035-310 | COOLING GENERATING SYSTEM PUMPS
D3035-320 | CHILLED WATER METER
D3035-330 | CHILLED WATER VALVE
D3035-340 | CHILLED WATER LOOP
D3035-350 | CONDENSER WATER LOOP | Specify material: steel, galvanized steel, or other
D3041-110 | AIR PRESSURIZATION SYSTEM (SPECIAL PRESSURE ROOM(S)) | The most common types of "special pressure rooms" or rooms that require regular pressurization checks are (please indicated type): Operating rooms or procedure rooms Isolation rooms Vivariums Other types of "special pressure rooms" include: Anesthesia tech storage (clean supply) room Ante/buffer room Clean room Clean storage / clean supply storage room / clean utility room Drug storage room Gross anatomy room HD buffer room Housekeeping/EVS closet Isolation room toilet Janitor's closet Main buffer room Med waste holding room PICU bone marrow room Soiled utility room Sterile compounding/work (neg) room Sterile compounding/work (pos) room Storage/receiving room Utility room ***NOTE***: Include a row for each special pressure room monitoring device on the "Asset Inventory" spreadsheet. Monitoring devices should use the "CONTROLS, CENTRAL SYSTEM" asset group ID D3065-100.
D3043-100 | STEAM CONDENSATE LOOP | Specify type: steam boiler or boiler condensate
D3045-110 | AIR HANDLING UNIT | If the AHU directly serves a chilled beam, list each location served in the Extra Description column.
D3045-112 | AHU COMPUTER ROOM
D3045-115 | AHU COILS
D3045-120 | FAN COIL UNIT
D3045-130 | ENERGY/HEAT RECOVERY UNIT
D3045-160 | VAV BOX | VAV assets should contain information concerning which room number(s) it serves. Barcode stickers should be placed on ceiling tile to show exact location of VAVs. If the VAV serves a chilled beam, list each location served in the Extra Description column.
D3045-161 | CHILLED BEAMS | Chilled beams should be reported as a system asset, meaning one asset ID will represent all chilled beams in the property. Please include just one row for chilled beams and provide the total count of chilled beams (passive + active) in the Extra Description column. For active chilled beams, list their locations in the Extra Description of the air supply equipment (VAV / AHU / etc.).
D3045-175 | HVAC DAMPERS
D3045-220 | EXHAUST FAN(S)
D3045-225 | SUPPLY FAN
D3045-230 | RETURN FAN
D3045-235 | FAN, MAKE UP AIR
D3045-250 | CHEMICAL FUME HOOD
D3045-255 | DIETARY EXHAUST HOOD
D3045-260 | AIR GRILLS | Air grills are only tracked as an asset in AiM if it is in an HSPP property. Air grills are assigned one asset ID per property. Report the number of air grills and their locations in Extra Description column.
D3045-325 | OTHER DISTRIBUTION VALVES
D3045-330 | STEAM REGULATOR (PRESSURE REDUCING) VALVE | This asset group specifically refers to assets that are components of building systems. For assets that are for building-related sitework and will be maintained by Utilities Distribution, see G3041-120.
D3045-335 | TEMPERATURE CONTROL VALVE | This asset group specifically refers to assets that are components of building systems. For assets that are for building-related sitework and will be maintained by Utilities Distribution, see G3043-120.
D3045-340 | STEAM/CONDENSATE METER
D3045-350 | STEAM TRAP | This asset group specifically refers to assets that are components of building systems. For assets that are for building-related sitework and will be maintained by Utilities Distribution, see G3041-125.
D3045-410 | PUMP, CENTRIFUGAL
D3045-530 | CIRCULATOR PUMP
D3045-535 | CONDENSATE PUMP | This asset group specifically refers to assets that are components of building systems. For assets that are for building-related sitework and will be maintained by Utilities Distribution, see G3042-130.
D3045-540 | EXPANSION TANK
D3045-541 | AIR SEPARATOR
D3045-545 | CONDENSATE TANK
D3045-550 | DUAL TEMPERATURE WATER LOOP | This asset group specifically refers to assets that are components of building systems. For assets that are for building-related sitework and will be maintained by Utilities Distribution, see G3012-100.
D3045-600 | HEAT EXCHANGER, STEAM | This asset group specifically refers to assets that are components of building systems. For assets that are for building-related sitework and will be maintained by Utilities Distribution, see G3041-200.
D3045-610 | HEAT EXCHANGER, WATER | This asset group specifically refers to assets that are components of building systems. For assets that are for building-related sitework and will be maintained by Utilities Distribution, see G3043-200.
D3055-110 | UNIT HEATER
D3055-210 | PACKAGED UNIT - AIR COOLED
D3055-250 | AIR CONDITIONING, SPLIT SYSTEM
D3055-265 | AIR CONDITIONER, WINDOW
D3055-310 | HEAT PUMP
D3055-330 | FURNACE | Title V Air Permit ID (xxxx-x-xx) required from Environmental Compliance
D3065-100 | CONTROLS, CENTRAL SYSTEM | Examples: Alarms or monitoring devices
D3065-150 | VFD (VARIABLE FREQUENCY DRIVE)
D3065-160 | THERMOSTAT | Thermostats are assigned one asset ID per property. Report the number of thermostats and their locations in Extra Description column.
D3065-170 | FREEZESTAT
D3091-110 | WALK IN BOX, TEMPERATURE CONTROLLED
D3095-118 | AIR COMPRESSOR (HVAC)
D3095-210 | HUMIDIFICATION SYSTEMS | Title V Air Permit ID (xxxx-x-xx) required from Environmental Compliance
D3095-215 | HUMIDIFICATION SPRAY PUMP
D3095-220 | DEHUMIDIFIER, DESICANT WHEEL
D3095-224 | AIR WASHER
D3095-230 | AIR DRYERS (CONTROL AIR)
D3095-240 | AIR CURTAIN SYSTEM
D3095-310 | GLYCOL SYSTEM
D3096-100 | SPRAY PAINT BOOTH VENTILATION | Title V Air Permit ID (xxxx-x-xx) required from Environmental Compliance
FIRE PROTECTION
D4015-100 | BFP FIRE PROTECTION
D4015-200 | FIRE PUMP | Indicate if fire pump is diesel or electric.
D4015-300 | FIRE SUPPRESSION - AIR COMPRESSOR
D4015-310 | SPRINKLER SYSTEM, FIRE SUPPRESSION
D4015-320 | WATERTANK FOR SPRINKLERS
D4015-430 | FIRE SUPPRESSION - HOOD
D4015-450 | FIRE SUPPRESSION - SPECIAL HAZARD
D4025-100 | FIRE DEPARTMENT CONNECTION
D4025-200 | HOSE CABINETS
D4035-100 | FIRE EXTINGUISHER(S) | Fire extinguisher assets are reported to the Preventive Maintenance department by Fire-Life Safety (FLS). The project team is not responsible for providing fire extinguisher information, including fire extinguisher cabinets, to the Preventive Maintenance department. Applying barcode stickers on fire extinguisher assets is also the responsibility of Fire-Life Safety, not the project team. The project team is responsible for reporting and applying barcode stickers on all other fire protection assets.
D4045-200 | FIRE ALARM TRANSMITTER
D4045-220 | FIRE ALARM PANEL
D4045-710 | SMOKE DETECTOR
D4095-100 | EXTINGUISHING SYSTEM (CO2)
D4095-500 | FIRE/SMOKE DAMPER(S)
D4095-600 | FIRE CURTAINS
ELECTRICAL
D5015-210 | SWITCHBOARD, ELECTRICAL
D5015-220 | CIRCUIT BREAKER, HV AIR
D5015-230 | ELECTRICAL SERVICE/DISTRIBUTION METERS
D5015-232 | ELECTRICAL FEED
D5015-234 | SWITCH, AUTOMATIC TRANSFER
D5015-236 | SWITCH, INTERRUPT, HV, FUSED AIR
D5015-238 | MV PROTECTIVE RELAYS
D5015-240 | TRANSFORMER, PRIMARY | 1) Indicate cooling type: Dry/Air or Oil 2) Indicate voltage
D5015-260 | PANELBOARD
D5015-274 | TRANSFORMER, SECONDARY
D5015-280 | MOTOR CONTROL CENTER
D5025-230 | DIMMING PANEL(S)
D5025-310 | OUTLET LINE MONITORS
D5035-210 | CARD KEY LOCK SYSTEM | Card key lock systems are assigned one asset ID per property. Report the number of card access points and their locations in Extra Description column.
D5035-810 | EMERGENCY CALL SYSTEM
D5095-160 | SURGE PROTECTOR
D5095-210 | EMERGENCY GENERATOR | Title V Air Permit ID (xxxx-x-xx) required from Environmental Compliance
D5095-230 | UNINTERRUPTIBLE POWER SYSTEM
D5095-235 | LIGHTING INVERTER
D5095-240 | WET BATTERY SYSTEM & CHARGER
D5095-250 | EMERGENCY LIGHTS AND EXIT SIGNS | HSPP properties: Each emergency light and exit sign fixture will receive its own row on the turnover form with its own unique asset ID and barcode sticker. For each fixture, include the location, indicate the back-up power supply (i.e. battery, generator, or both), and indicate whether the fixture is located in a specialty room: generator room, automatic transfer switch room, procedure room (i.e. operating/sedation room). Academic properties: Only one asset ID is needed for each group of fixtures. If applicable, divide the fixtures into two groups with two unique asset ID’s: one ID for those that rely solely on battery power as their back-up power supply and another ID for those that are connected to a generator, even if they also use battery back-up. This way, each group can be assigned separately to their appropriate maintenance templates. (All fixtures require monthly visual inspections, and fixtures relying solely on a battery back-up power source require monthly and annual testing.) Once fixtures in academic properties have been divided into two groups based on back-up power supply, additional breakdowns are optional. A group of fixtures can be for the entire property or broken down into smaller groups (e.g., floor or wing) to make reporting more manageable. Each group must identify the back-up power supply of the group. Within each group, each individual fixture must be listed in the Extra Description column on the Asset Inventory sheet of the turnover form. Any fixtures located inside a generator room or an automatic transfer switch room must also be indicated. Fixtures in academic properties will not receive a barcode sticker. Notify EHS if Tritium signs (ionizing radiation hazard) are used. Indicate any exit signs using tritium on the Asset Inventory sheet of the turnover form.
D5095-260 | SOLAR PHOTOVOLTAIC ( PV ) (ARRAY or SYSTEM)
D5095-270 | BATTERY CHARGER
D5095-280 | UPS BATTERY
EQUIPMENT
E1025-200 | DUST COLLECTOR SYSTEM | Title V Air Permit ID (xxxx-x-xx) required from Environmental Compliance
E1025-300 | AED - AUTOMATED EXTERNAL DEFIBRILLATOR | As of 2024, All AEDs are maintained by third party contract managed by Emergency Management. Do not include AED equipment on the Asset Turnover Form.
E1050-610 | EYE WASH BOTTLE STATION
E1095-122 | CRANE/HOIST
E1095-348 | ICE MACHINE | An ice machine is only tracked as an asset in AiM if it is 1) in an HSPP property, and 2) for clinical use, not departmental use.
E1095-380 | REFRIGERATOR | A refrigerator is only tracked as an asset in AiM if it is 1) in an HSPP property, and 2) for clinical use, not departmental use.
E1095-382 | FREEZER | A freezer is only tracked as an asset in AiM if it is 1) in an HSPP property, and 2) for clinical use, not departmental use.
F2020-120 | HAZMAT STORAGE AREA
BUILDING SITEWORK / UTILITIES
SITE IMPROVEMENTS
G2035-140 | PERMEABLE PAVING
G2045-600 | FOUNTAIN, POOLS, WATERCOURSES
G2045-710 | BLEACHERS
G2055-101 | IRRIGATION SYSTEMS
SITE MECHANICAL UTILITIES
G3011-100 | DOMESTIC WATER DISTRIBUTION | For assets which will be maintained by Utilities Distribution. The property ID should be the distribution system property. For the asset group relating to building systems, see D2025.
G3011-115 | DOMESTIC WATER DISTRIBUTION VALVE | Provide GIS ID (DWFTxxxx) if available.
G3012-100 | DUAL TEMPERATURE WATER LOOP | For assets which will be maintained by Utilities Distribution. The property ID should be the distribution system property. For the asset group relating to building systems, see D3045-550.
G3014-110 | FIRE HYDRANT
G3015-108 | WATER SUPPLY STORAGE TANK
G3015-126 | WATER SUPPLY PUMPS
G3025 | SANITARY SEWER
G3025-400 | SEWAGE PUMP
G3025-600 | SANITARY SEWER SEPTIC TANKS
G3035-110 | STORM SEWER DRAINS AND CATCH BASINS
G3035-115 | WET POND / WETLANDS
G3035-120 | STORM SEWER EXTENDED DETENTION PONDS
G3035-130 | STORM SEWER GRASS CHANNEL
G3035-140 | STORM SEWER INFILTRATION
G3035-145 | CISTERN / RAINWATER HARVESTING
G3035-150 | STORM SEWER UNDERGROUND
G3035-160 | STORM SEWER VEG ROOF
G3035-170 | STORM SEWER BIOFILTER
G3035-180 | STORM SEWER OUTFALL
G3035-210 | SPILL CONTAINMENT VALVES | Spill containment valves are assigned one asset ID per property. Report the number of valves and their locations in Extra Description column.
G3035-300 | STORM SEWER MANUFACTURED DEVICES
G3036-100 | DITCHES AND CULVERTS
G3041-115 | STEAM DISTRIBUTION VALVE | For assets which will be maintained by Utilities Distribution. The property ID should be the distribution system property. For the asset group relating to building systems, see D3025-340.
G3041-120 | STEAM REGULATOR (PRESSURE REDUCING) VALVE | For assets which will be maintained by Utilities Distribution. The property ID should be the distribution system property. For the asset group relating to building systems, see D3045-330.
G3041-125 | STEAM TRAP | For assets which will be maintained by Utilities Distribution. The property ID should be the distribution system property. For the asset group relating to building systems, see D3045-350.
G3041-200 | HEAT EXCHANGER, STEAM | For assets which will be maintained by Utilities Distribution. The property ID should be the distribution system property. For the asset group relating to building systems, see D3045-600.
G3042-130 | CONDENSATE PUMP | For assets which will be maintained by Utilities Distribution. The property ID should be the distribution system property. For the asset group relating to building systems, see D3045-535.
G3043-100 | LOW TEMPERATURE HOT WATER LOOP | For assets which will be maintained by Utilities Distribution. The property ID should be the distribution system property. For the asset group relating to building systems, see D3025-330.
G3043-120 | TEMPERATURE CONTROL VALVE | For assets which will be maintained by Utilities Distribution. The property ID should be the distribution system property. For the asset group relating to building systems, see D3045-335.
G3043-200 | HEAT EXCHANGER, WATER | For assets which will be maintained by Utilities Distribution. The property ID should be the distribution system property. For the asset group relating to building systems, see D3045-610.
G3051-115 | CHILLED WATER DISTRIBUTION VALVE
G3065-310 | FUEL TANKS | Indicate if fuel tank is above or under ground. Provide Tank ID (Axxxx-x or Uxxxx-1) if available.
SITE ELECTRICAL UTILITIES
G4015-220 | ELECTRICAL MANHOLE | Electrical manholes are assigned one asset ID per property. Report the number of manholes and their locations in Extra Description column.
G4025-210 | OUTDOOR POLE LIGHTS | Outdoor pole lights are assigned one asset ID per property. Report the number of light poles and their locations in Extra Description column.
G4030-101 | TWO-WAY COMMUNICATION DEVICES | "Blue lights"
G4095-100 | ELECTRIC VEHICLE CHARGING STATION
G4095-200 | OUTDOOR POWER OUTLET STATION
OTHER SITE CONSTRUCTION
G9015-100 | SERVICE TUNNELS
G9015-120 | ACCESS LADDER TO HEAT TUNNELS
G9090-100 | SNOW MELT SYSTEM