## Instructions
INSTRUCTIONS
1) | Complete Form HECO-6a, the "Statement of VUSBC Special Inspections" cover page.
(Click on the "HECO-6a" tab below to access it.)
2) | Form HECO-6b to be filled out by the projects registered deisgn professional(s), "2021 VUSBC Special Inspections" list.
(Click on the "HECO-6b" tab below to access it.)
3) | Obtain the Structural Engineer of Record, A/E of Record, and Smoke Control RDP signatures for the HECO-6a form.
4) | Submit forms in PDF format with the Office of the University Building Official as part of the review submission.
Forms are to be incorporated into the specifications or a single manual if no project specifications are provided.
Do not provided excel format forms and do not provided forms on the drawings.
5) | Include a copy of the original completed HECO-6a and -6b in the Project's original files.

## HECO-6a
STATEMENT OF STRUCTURAL & SPECIAL INSPECTIONS
2021 Code Version | [8 empty] | HECO-6a
(Revised 03/01/24)
DATE:
PROJECT TITLE:
PROJECT CODE/ PROJECT #
A/E OF RECORD:
The following firms and/or individuals (with address and telephone number shown) are designated to perform the Structural & Special Inspections designated below. The firm/ individual has the experience, qualifications, certifications and/or licenses required to perform the functions indicated.
TESTING AND INSPECTION SERVICE
| SPECIAL INSPECTOR & |  |  |  | A/E OF RECORD |  |  | SMOKE CONTROL
| TEST LAB |  |  |  | INSPECTION MANAGER |  |  | TESTING & INSPECTION
Name: |  |  |  | Name: |  |  | Name:
Address: |  |  |  | Address: |  |  | Address:
City/St/Zip |  |  |  | City/St/Zip |  |  | City/St/Zip
Phone: |  |  |  | Phone: |  |  | Phone:
UNIVERSITY PROJECT STAFF
|  | CONSTRUCTION MANAGER |  |  |  |  | PROJECT MANAGER
| Name: |  |  |  |  | Name:
| Address: |  |  |  |  | Address:
Inspection and/or Testing responsibilities are indicated on the attached list Structural & Special Inspections Schedule, Form HECO-6b. Copies of all test data and reports shall be provided to the A/E of Record and to the University's Project Manager on a timely basis. The Contractor shall be notified of all deficiencies and discrepancies in a timely manner so that corrective action can be taken.
PROFESSIONAL OVERSIGHT AND CERTIFICATION
STRUCTURAL
| ENGINEER OF RECORD |  |  |  | A/E of RECORD |  |  | SMOKE CONTROL RDP
Name: |  |  |  | Name: |  |  | Name:
Address: |  |  |  | Address: |  |  | Address:
City/St/Zip |  |  |  | City/St/Zip |  |  | City/St/Zip
Phone: |  |  |  | Phone: |  |  | Phone:
| (Signature) |  | (Date) |  | (Signature) | (Date) |  | (Signature) | (Date)
CODE OFFICIAL'S ACCEPTANCE
Approved: |  | This form is approved by the University Building Official upon acceptance and permitting of
the project plans and specifications.
Comments:
Original to: |  | UVA Project Manager
Copies to: |  | Design Team
ü |  | Support Staff
Attachment: |  | HECO-6b List of Special Inspections

## HECO-6b
Note to A/E: Identify the special inspections required for this project by placing an "X" in the "REQ'D THIS PROJ?" column. Verify correct column for whom is to provide the inspection is marked. Masonry construction highlight the applicable quality assurance level.
| 2021 VUSBC SPECIAL INSPECTIONS | [6 empty] | HECO-6b
2021 Code Version | Project Title:
(Revised 03/01/24) | Project Code/ Project #
|  | REQ'D |  | INSPECTION / TEST BY *
MATERIAL/ | TYPE OF INSPECTION | THIS |  | OWNER'S TEST LAB | A/E OF RECORD | SMOKE CONTROL | PROJECT INSPECTOR | CONTRACTOR / SUPPLIER
ACTIVITY | (A/E add lines as needed to identify other required items) | PROJ ? | REFERENCE
FOUNDATIONS
Soil | Verify material below shallow foundations are adequate to achieve the design bearing capacity. |  | VCC T1705.6 #1 | X (Periodic)
Soil | Verify excavation is extended to proper depth and has reached proper material. |  | VCC T1705.6 #2 | X (Periodic)
Soil | Perform classifcation and testing of compacted fill materials. |  | VCC T1705.6 #3 | X (Periodic)
Soil | During fill placement verify conformance to geotechnical report. |  | VCC T1705.6 #4 | X
Soil | Prior to fill, inspect subgrade to verify prepared properly. |  | VCC T1705.6 #5 | X (Periodic)
Helical Pile | Install equipment, pile dimensions, tip elevations, final depth, final installation torque and other pertinent installation data. |  | VCC 1705.9 | X
Deep Foundations | Resonable doubt as to the structural integrity. |  | VCC 1705.10
Deep Foundations | Verify element materials, sizes and lengths. |  | VCC T1705.7 #1 | X
Deep Foundaitons | Determine capacities of test elements and conduct additional load tests. |  | VCC T1705.7 #2 | X
Deep Foundations | Inspect driving operations and maintain complete and accurate records. |  | VCC T1705.7 #3 | X
Deep Foundations | Record placement and install criteria. |  | VCC T1705.7 #4 | X
Deep Foundations | For steel elements, perform special inspections per 1705.2 |  | VCC T1705.7 #5
Deep Foundations | For concrete elements, perform special inspections per 1705.3 |  | VCC T1705.7 #6
Deep Foundations | For speciality elements, perform additional inspections per the RDP. |  | VCC T1705.7 #7
Cast Deep Fnds | Inspect driving operations and maintain complete and accurate records. |  | VCC T1705.8 #1 | X
Cast Deep Fnds | Record placement and install criteria. |  | VCC T1705.8 #2 | X
Cast Deep Fnds | For concrete elements, perform special inspections per 1705.3 |  | VCC T1705.8 #3
CONCRETE CONSTRUCTION
Concrete | Reinforcement, including prestressing tendons, verfiy placement. |  | VCC T1705.3 #1 | X (Periodic)
Concrete | Reinforcing bar welding. |  | VCC T1705.3 #2 | X, X (Periodic)
Concrete | Inspect anchors cast in concrete |  | VCC T1705.3 #3 | X (Periodic)
Concrete | Inspect anchors post-installed. |  | VCC T1705.3 #4 | X, X (Periodic)
Concrete | Verify use of required design mix |  | VCC T1705.3 #5 | X (Periodic)
Concrete | Concrete test speciens |  | VCC T1705.3 #6 | X
Concrete | Concrete and shotcrete placement for proper application. |  | VCC T1705.3 #7 | X
Concrete | Verify maintenance of specified curing temperature and techniques. |  | VCC T1705.3 #8 | X (Periodic)
Concrete | Prestressed concrete application of forces and grouting. |  | VCC T1705.3 #9 | X
Concrete | Precast concrete member erection. |  | VCC T1705.3 #10 | X (Periodic)
Concrete | Precast concrete diaphragm connections or reinforcement at joints classified MDE or HDE. |  | VCC T1705.3 #11 | X
Concrete | Tolerances of precast concrete diaphragm connections. |  | VCC T1705.3 #12 | X (Periodic)
Concrete | Verify in-situ concrete strength. |  | VCC T1705.3 #13 | X (Periodic)
Concrete | Inspect formwork. |  | VCC T1705.3 #14 | X (Periodic)
MASONRY CONSTRUCTION |  |  |  | Level 1 | Level 2 | Level 3
Assurance Level | Indicate Quality Assurance Level (1, 2, 3) |  | TMS 402 3.1
Masonry - Verify | Verification of compliance of submittals. |  | TMS 602 1.6 Table 3 | Required | Required | Required
Masonry - Verify | Verify f'm and f'AAC. |  | TMS 602 1.6 Table 3 | Not Required | Required | Required
Masonry - Verify | Verify slump flow and Visual Stability Index for self consolidating grout. |  | TMS 602 1.6 Table 3 | Not Required | Required | Required
Masonry - Verify | Verfiy f'm and f'AAC, for every 5,000 sq.ft. |  | TMS 602 1.6 Table 3 | Not Required | Not Required | Required
Masonry - Verify | Verify proportions as delivered to the project site. |  | TMS 602 1.6 Table 3 | Not Required | Not Required | Required
Masonry - Inspect | 1a Proportions of site-prepared mortar. |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Periodic
Masonry - Inspect | 1b Grade and size of prestressing tendons and anchorage. |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Periodic
Masonry - Inspect | 1c Grade, type and size of reinforcement, connectors, anchor bolts, and prestresssing tendons and anchorage. |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Periodic
Masonry - Inspect | 1d Prestressing technique |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Periodic
Masonry - Inspect | 1e Properties of thin-bed mortar for AAC masonry |  | TMS 602 1.6 Table 4 | Not Required | C/P | Continous
Masonry - Inspect | 1f sample panel construction |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Continous
Masonry - Inspect | 2a Grout Space |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Continous
Masonry - Inspect | 2b Placement of prestressing tendons and anchorages |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Periodic
Masonry - Inspect | 2c Placement of reinforcement, connectors, and anchor bolts |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Continous
Masonry - Inspect | 2d Proportions of site-prepared grout and prestressing grout for bonded tendons. |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Periodic
Masonry - Inspect | 3a Materials and procedurs with the approved submittals |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Periodic
Masonry - Inspect | 3b Placement of masonry units and mortar joint construction |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Periodic
Masonry - Inspect | 3c Size and location of structural members |  |  | Not Required | Periodic | Periodic
Masonry - Inspect | 3d Type, size, and location of anchors, including other details of anchorage of masonry to structural members, frames, or other construction. |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Continous
Masonry - Inspect | 3e Welding of reinforcement |  | TMS 602 1.6 Table 4 | Not Required | Continous | Continous
Masonry - Inspect | 3f Preparation, constuction, and protection of masonry during cold or hot weather (<40F or >90F) |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Periodic
Masonry - Inspect | 3g Application and measurement of prestressing force. |  | TMS 602 1.6 Table 4 | Not Required | Continous | Continous
Masonry - Inspect | 3h Placement of grout and prestressing grout for bonded tendons is in compliance. |  | TMS 602 1.6 Table 4 | Not Required | Continous | Continous
Masonry - Inspect | 3i Placement of AAC masonry units and construction of thin-bed mortor joints. |  | TMS 602 1.6 Table 4 | Not Required | C/P | Continous
Masonry - Inspect | 4 Observe preparation of grout specimens, mortar specimens, and/or prisms. |  | TMS 602 1.6 Table 4 | Not Required | Periodic | Continous
Glass Unit | Glass unit masonry and masonry veneer in Risk Category IV |  | VCC 1705.4.1
Vertical Masonry | Vertical masonry foundation elements |  | VCC 1705.4.2
STEEL CONSTRUCTION
Fabricator | Quality Control Inspection Of Shop |  | VCC 1704.2.5
Steel | Welding |  | AISC 360-16 N5.1
Steel | High Strenght Bolting |  | AISC 360-16 N5.1
Steel | Galvanized structural steel |  | AISC 360-16 N5.1
Decking | Cold Form Steel Decking |  | VCC 1705.2.2
Joist | 1a open web joist and joist girders end connections. |  | VCC T1705.2.3 | X (Periodic)
Joist | 1b1 open web joist and joist girder standard bridging. |  | VCC T1705.2.3 | X (Periodic)
Joist | 1b2 open web joist and joist girder other bridging. |  | VCC T1705.2.3 | X (Periodic)
Trusses | Cold form steel trusses, span >60 feet |  | VCC 1705.2.4
WOOD CONSTRUCTION
Wood | Wood material labeling |  | VCC 1703.5
Wood | Quality Control Inspection Of Shop Fabrication |  | VCC 1704.2.5
Wood | High-load Diaghragms |  | VCC 1705.5.1
Wood-Trusses | Metal-plate counnected wood trusses, span >60 feet |  | VCC 1705.5.2
Mass Timber | Anchorage and connections to timber deep foundation systems |  | VCC T1705.5.3 | X (Periodic)
Mass Timber | Inspect erection of mass timber construction |  | VCC T1705.5.3 | X (Periodic)
Mass Timber | Inspect connections where installation methods are required to meet design loads - Threaded connections |  | VCC T1705.5.3 | X (Periodic)
Mass Timber | Inspect connections where installation methods are required to meet design loads - adhesive anchors - sustained tension loads |  | VCC T1705.5.3 | X (Continuous)
Mass Timber | Inspect connections where installation methods are required to meet design loads - other adhesive anchors |  | VCC T1705.5.3 | X (Periodic)
Mass Timber | Inspect connections where installation methods are required to meet design loads - bolted connections |  | VCC T1705.5.3 | X (Periodic)
Mass Timber | Inspect connections where installation methods are required to meet design loads - concealed connections. |  | VCC T1705.5.3 | X (Periodic)
Sealing | Sealants or adhesives where required by section 703.7 |  | VCC 1705.20 | X (Periodic)
WIND FORCE RESISTANCE
Wind exposure category B, where V >=150 mph or Wind exposure category C or D, where V >= 140 mph.
Wood | Field gluing, nailing, bolting, anchoring, and other fastening of MWFRS, including wood shear walls, wood diaphragms, drag struts, braces, and hold downs. |  | VCC 1705.12.1 | X (P/C)
Cold Formed Steel | Welding, screw attachement of MWFRS, including shear walls, braces, diaphrams, collectors, and hold downs. |  | VCC 1705.12.2 | X (Periodic)
Components | Fastening of the roof conering, roof deck, roof framing connections, exterior wall convering, and wall connections to roof and floor diaphramgms and framing. |  | VCC 1705.12.3 | X (Periodic)
SEISMIC RESISTANCE
Steel | Steel in SFRS for SDC B,C,D,E, or F. |  | VCC 1705.13.1.1
Steel | Steel in SFRS for SDC B,C,D,E, or F other than above |  | VCC 1705.13.1.2
Wood | Wood in SFRS for SDC C, D, E, or F |  | VCC 1705.13.2 | X (P/C)
Cold Formed Steel | Cold Formed Steel for SDC C, D, E, or F |  | VCC 1705.13.3 | X (Periodic)
Designated systems | For SDC C,D,E, or F designated seismic systems requiring qualificaiton in accordance with 13.2.2 of ASCE 7 shall be inspected to verify label, anchorage and mounting conform to the certificate of compliance. |  | VCC 1705.13.4
Architectural | Inspection is required for erection and fastening of cladding, interior and exterior nonbearing walls and interior/ exterior veneer in SDC D, E, F. |  | VCC 1705.13.5 | X (Periodic)
Access Floors | Anchorage of access floors in SDC D, E, or F. |  | VCC 1705.13.5.1 | X (Periodic)
MEP components | Inspection of anchorage depending on application, SDC C,D,E, or F. |  | VCC 1705.13.6 | X (Periodic)
Storage Racks | Materials used, to verify compliance with one or more of the material test reports in accordance with construction documents. SDC D,E, or F. |  | VCC T1705.13.7 #1 | X (Periodic)
Storage Racks | Fabricated storage rack elements SDC D,E, or F. |  | VCC T1705.13.7 #2 | X (Periodic)
Storage Racks | Storage rack anchorage installation. |  | VCC T1705.13.7 #3 | X (Periodic)
Storage Racks | Completed system, to indicate compliance with construction docs. |  | VCC T1705.13.7 #4 | X (Periodic)
Isolation Systems | Systems in seismically isolated structures in SDC B,C,D,E or F |  | VCC 1705.13.8 | X (Periodic)
Cold Formed Steel | Cold Formed Steel special bolted moment frames SDC D, E, F |  | VCC 1705.13.9 | X (Periodic)
Testing | Structural Steel SDC B, C, D, E, F |  | VCC 1705.14.1
Testing | Nonstructural Components SDC B, C, D, E, F |  | VCC 1705.14.2
Testing | Designated Seismic Systems SDC C, D, E, F |  | VCC 1705.14.3
Testing | Seismic Isolation Systems SDC B, C, D, E, F |  | VCC 1705.14.4
FIREPROOFING
Spray-on | Physical and Visual Tests |  | VCC 1705.15.1 | X
Spray-on | Surface Conditions |  | VCC 1705.15.2 | X
Spray-on | Application |  | VCC 1705.15.3 | X
Spray-on | Thickness |  | VCC 1705.15.4 | X
Spray-on | Density |  | VCC 1705.15.5 | X
Spray-on | Bond Strength |  | VCC 1705.15.6 | X
Mastic/ Intumescent | Mastic and Inumescent Fire-Resistant Coatings |  | VCC 1705.16 | X
EXTERIOR INSULATION & FINISH SYSTEMS (EIFS)
Coating | Water-Resistive Barrier Coating |  | VCC 1705.17.1 | X
SMOKE CONTROL (see note 5 )
Testing | Testing for Smoke Control |  | VCC 1705.19 |  |  | X
NOTES:
1 | Fabricator, supplier, ready-mixed plant or other production plant shall provide certificates from an approved
independent inspection, testing or quality assurance agency attesting that the plant meets at least one of the
following criteria:
a. The plant is a certified production plant meeting the quality assurance standards of a
recognized national standards organization for that product.
b. The plant maintains an agreement with an independent inspection or quality assurance
agency to conduct periodic in-plant quality assurance inspections. The frequency of these
inspections shall not be less than one every six months.
c. The plant has an in-shop quality assurance inspection program by an independent testing
or quality assurance agency for the work/ product to be provided on this project.
2 | A/E shall review fabricator/ supplier/ producer certificates for conformance with appropriate
standards of practice and quality assurance.
3 | Contractor/ supplier shall submit manufacturer's certificates of compliance for the
materials/ products.
5 | Special Inspection firm shall have expertise in fire protection engineering, mechanical engineering, and
certification as an air balancer. The special inspector listed on the cover page and the Agency are
responsible for verifying that the inspector(s) for smoke control is qualified as required by VCC 1705.19.2.
6 | Unless noted otherwise, the reference numbers listed refer to the 2021 VCC.