

**University of Virginia**

**. . . . . . . . . . . . . . . .**

*Snow and Ice Control Plan*

*2021-2022*



**Table of Contents**

[Introduction 3](#_TOC_250033)

[Snow and Ice Control Objectives 3](#_TOC_250032)

[Organization 3](#_TOC_250031)

[Director of Operations 3](#_TOC_250030)

[Director of Health System Physical Plant 3](#_TOC_250029)

[Landscape Services Superintendent 3](#_TOC_250028)

[HSPP Zone Managers 3](#_TOC_250027)

[Landscape Services Supervisors 4](#_TOC_250026)

[Academic Zone Managers 4](#_TOC_250025)

[Custodial Services 4](#_TOC_250024)

[Facilities Management Designated Personnel 4](#_TOC_250023)

[Athletic and Intermural Departments 4](#_TOC_250022)

[Director of Operations, John Paul Jones Arena 4](#_TOC_250021)

[Fontana Food Center 4](#_TOC_250020)

[Contracted Snow Removal 4](#_TOC_250019)

[Preseason Planning 5](#_TOC_250018)

[Review of Plan 5](#_TOC_250017)

[Materials and Equipment 5](#_TOC_250016)

[Annual Snow Review of Snow and Ice Removal Assignments and Communications Test 5](#_TOC_250015)

[Event Management 6](#_TOC_250014)

[Snow and Ice Removal Levels 6](#_TOC_250013)

[Weather Monitoring 6](#_TOC_250012)

[Mobilization 7](#_TOC_250011)

[Command & Control 8](#_TOC_250010)

[Areas of Responsibility 10](#_TOC_250009)

[Snow Removal Maps 10](#_TOC_250008)

[Stand Down from Snow Removal Operations 10](#_TOC_250007)

[Post Event Activities 11](#_TOC_250006)

[Restocking of Inventory 11](#_TOC_250005)

[Cleaning, Evaluation and Repair of Equipment 11](#_TOC_250004)

[After-Action Review 11](#_TOC_250003)

[Appendices 12](#_TOC_250002)

[Appendix A: Plow Trucks Assigned 12](#_TOC_250001)

[Appendix B: Contract Snow Plowing Areas 13](#_TOC_250000)

# Introduction

Facilities Management has primary responsibility for snow and ice control operations for the University and UVA Health. This plan establishes basic priorities for conducting these operations; describes the organization, control, and communications procedures; and assigns specific responsibilities.

During a snow event, only bona fide emergencies have a higher priority than snow and ice control operations for landscape services and operations personnel.

# Snow and Ice Control Objectives

In accordance with Policy HRM-032 *Disruption of Normal University Operation Resulting from Weather or Emergency Events*, snow and ice control operations will be undertaken to ensure that:

1. UVA Health to include outlying clinics and hospitals, operates without disruption
2. Safe access to University Grounds is maintained throughout a snow event for emergency vehicles
3. Access to the UVA Police Department is maintained
4. University bus routes are cleared and available for use by students, faculty, and staff
5. The schools and departments of the University will be able to operate during regularly scheduled hours while the University is in session
6. Housing Facilities will remain accessible for the duration of the storm

### Walkways and stairs at Gooch-Dillard, located on the third-floor terrace (see map for exact location) are the only egress routes for this building and will be kept passable at all times during all snow and ice conditions. This is a code requirement and shall be included in future versions of the University Snow plan. Any changes to this requirement must be approved by the State Fire Marshal’s office

# Organization

### Director of Operations:

Overall responsibility for snow and ice control for all roadways, parking lots, and pedestrian access for the University Academic Division. Reports snow removal progress directly to the Associate Vice President and Chief Facilities Officer and the Office of Safety and Emergency Preparedness.

### Director of Health System Physical Plant:

Overall responsibility for snow and ice control for all walkways and entrances in the UVA Health area.

### Associate Director of Grounds:

Serves as the Snow Control Officer, reporting to the Director of Operations, for both the UVA Health and Academic areas. They are responsible for ensuring the continuity of the Snow Control Officer responsibilities during their absence.

***Systems Control Manager:***

Aids the Associate Director of Grounds and the Associate Director of HSPP as needed. Establishes and maintains a VEOCI room for every event. Attends all required Critical Incident Management Team and FM meetings related to the planning, execution and after-actions reviews of snow events. Over-see’s the SCC’s involvement with the execution of this plan.

### HSPP Zone Managers:

Responsible for the supervision and prioritization of efforts to clear sidewalks, steps, and entrances to medical and research facilities. These efforts shall ensure **all** emergency egress paths and necessary entrances to all buildings remain clear at all times. Upon completion of the storm, all entrances will be cleared to their full widths. They shall establish a snow response procedure for their area. The manager of each area shall designate personnel and have a written procedure, communicated to each employee, addressing employee notification during snow events.

### Landscape Services Supervisors:

Responsible for the supervision and prioritization efforts to clear all roadways, parking lots, and parking garages in their assigned zone.

### Academic Zone Managers:

Responsible for the supervision and prioritization of efforts to clear sidewalks, steps and entrances to Academic buildings and Housing facilities. These efforts shall ensure **all** emergency egress paths and at least one accessible entrance to all buildings remain clear at all times. Upon completion of the storm, all entrances will be cleared to their full widths. They shall establish a snow response procedure for their area. The manager of each area shall designate personnel and have a written procedure, communicated to each employee, addressing employee notification during snow events.

### Custodial Services:

This division’s primary responsibility during snow events is to ensure the interior entranceways and lobbies are free of melted snow and deicing materials that could be a slip hazard. When precipitation has ended, crews will support the clearing of building entrances to their full width. At all times, fire exits will be cleared to permit full door opening and all associated steps and/or landings will be kept clear.

### Facilities Management Designated Personnel:

Members of Facilities Management who are expected to report to work during all events whether the University and UVA Health are operating on a normal schedule or not. In general, employees are responsible for responding to all snow events or contacting their manager or supervisor to determine if they need to respond.

### Athletic and Intermural Departments:

These departments are responsible for clearing walks and entrances of their respective athletic facilities.

### Director of Operations, John Paul Jones Arena

Responsible for clearing all walks, steps and building entrances to the arena.

### Fontana Food Center

Department is responsible for the steps, walks and loading dock associated with this area.

### Contracted Snow Removal:

A severe snowstorm might be more than the Facilities Management staff and equipment can handle. There are standing contracts to use for snow removal from University maintained surface parking lots and streets. These contracts are **not** normally necessary for snowfalls of short duration or less than 2” accumulation. Every effort should be taken to handle snow removal with in-house resources. The decision to activate the contractors is determined by the Snow Control Officer with input from the Director of Parking and Transportation or designee.

# Preseason Planning

### Review of Plan

The Snow and Ice Control Plan shall be reviewed and updated by October 1 annually for the upcoming snow season by the Associate Director of Grounds.

### Materials and Equipment

By October 15th of each year

**The Landscape Services Superintendent shall ensure that**:

* The below deicing materials are on-site and ready for issue

## Materials Quantities

**Bulk Sand** 35 Tons

**Bulk sand & salt mix** 100 Tons

**Bulk salt** 60 Tons

## Magnesium chloride (or equivalent) 15 Tons

4 Tons

**Sodium Acetate (used around the Academical Village and parking structures)**

\*\*\*Quantities are the minimum that shall be on-site at the start of the snow season\*\*\*

* All snow removal trucks and associated equipment (i.e. plows, spreader, etc.) have been serviced and are ready for use

## Zone Managers shall ensure that:

* An inventory of all small equipment is completed and provided to the Snow Control Officer
* All small equipment that is used for the particular snow removal needs of their assigned areas is prepared, tested, and ready for use – schedule needed repairs with the Landscape Services Equipment Repair Supervisor.
* An inventory of consumable equipment (i.e. shovels, PPE, etc.) is completed and needed items are ordered and available by November 1st of each year
* Ensure all staff understands their emergency status – designated vs. non-designated

## All Other Teams such as Project Services, Utilities, Fire Protection, Chiller Plant, and Heat Plant, Automation Services, Metering, and Recycling shall:

* Provide inventory of all snow removal equipment (i.e. vehicles w/ snow plows, gators w/ snow plows, snow blowers, etc.) to the Snow Control Officer
* Complete an inventory of consumable equipment (i.e. shovels, PPE, etc.) and ensure needed items are ordered and available by November 1st of each year
* Ensure all staff understands their emergency status – designated vs. non-designated

### Annual Review of Snow and Ice Removal Assignments and Process

By the start of the snow season or November 1, whichever is earlier, the Associate Director of Grounds and the Associate Director for HSPP shall schedule a meeting of Facilities Management designated snow removal personnel to review the current year’s snow plan.

**Event Management**

### Communication

### During a snow event, communications must be maintained between the Snow Control Officer, Landscape Services Supervisors, Maintenance Zone Managers, and FM Service Desk or Systems Control Center after-hours to ensure priority areas are cleared as quickly as possible to maintain access to critical areas of the UVA Health and University. For this reason, FM will use VEOCI as its primary communications tool. A room should be initiated for events when deemed necessary.

### Snow and Ice Removal Levels

There are three levels within the Snow and Ice Control Plan as defined below:

**Level I - Minor, Localized Impact**

Level I of a winter weather related emergency is typically defined as a light snow or flurries during normal working hours with no measurable accumulation or snow accumulations of 1 inch or less during the evening hours, weekend, or during holidays. It is possible that there will be ice forming on walks, steps, or roads. These events are easily managed by Landscape Services personnel.

## Level II – Significant, But Limited Impact

Level II of a winter weather related emergency is typically defined as a snow that is

1"- 6", snow/ice fall during off hours not allowing enough time to be cleared by 7:00 a.m., snow falling heavily, with accumulation possible, dangerous ice forming on walks, steps, and roads. This level normally requires additional support from Maintenance Zones and possibly other departments.

## Level III – Significant, Widespread Impact

Level III of a winter weather related emergency is typically a snow that is 6 inches or more, heavy snow or ice, continued snow or ice over long periods, accumulating snow or ice during class and clinic hours. This level requires the mobilization and assignment of snow removal duties of available personnel from all operational areas in Facilities Management, to include the Health System Physical Plant. Facilities Management staff may be asked to report to work early or to work after their normally scheduled hours to assist with snow or ice removal.

## \*\*\*\*It is possible that additional support will be requested at any of the above levels\*\*\*\*

### Weather Monitoring

Monitoring of the weather shall be the responsibility of both the Associate Director of Grounds and Associate Director, HSPP.

Prior to weekends or holidays when weather forecasts indicate a reasonable probability of snow or ice conditions, plows and salt spreaders will be mounted on selected equipment **as determined by the Snow Control Officer** and those vehicles shall be fully fueled

* Whenever weather forecasts or conditions indicate a high probability of imminent snow or ice conditions, snow and ice control personnel will report as conditions warrant.

Personnel may be held after normal working hours to prepare equipment and commence initial sanding, salting, or plowing.

* The Snow Control Officer shall convene a “storm event planning meeting” whenever a large-scale snow event is expected (i.e. Level II or Level III event) to discuss:
  + Preparation measures:
    - Relocation of Facility Management vehicles
    - Equipment / deicing material staging
    - Hotel arrangements (if required)
    - Establish a VEOCI room (if required)
  + Assignment of equipment
  + Staffing needs

Meeting shall be scheduled at least 48 hours in advance of expected snow or ice event

* + Attendees should include the following or their designee as circumstances dictate:
    - Director of Operations
    - Director of Health System Physical Plant
    - Director of Energy and Utilities
    - Director of Project Services
    - Associate Director of Grounds
    - Landscape Senior Supervisors
    - Landscape Area Supervisors
    - Associate Director of Maintenance
    - Associate Director or Manager of Utility Distribution Systems
    - Associate Director of Power & Light
    - Associate Director of Custodial Services
    - Associate Director for Housing
    - Associate Director of Automation Services

Associate Director, HSPP

* + - Director of Programs and Informatics
    - FM Safety Director

Snow Zone Managers






* + - Systems Control Center Manager
    - FM Fleet Manager

Associate Director of Grounds or the Associate Director, HSPP shall be responsible for briefing the Facilities Management leadership of the planning measures.

### Mobilization

During normal working hours, supervisors are responsible for communicating snow and ice control measures duties to their staff. After normal working hours, weekends, or holidays, personnel assigned to snow and ice control duties should call the Facilities Management Snow Line (434-243-0647). Supervisors and Managers will receive an alert from the Snow Control Officer regarding the weather event.

### Command & Control



Director of Operations

Snow Control Officer

Academic Zone Manager







Landscape Services Supervisor

HSPP Zone Manager

FM Service Desk

(Systems Control Center After hours)

**Figure 1 Organizational Structure - Snow Event Only**



Director of Operations / ~~Senior Associate~~ Director of Energy & Utilities

Systems Control Center

Snow Control Officer

On-Scene Leader

(i.e. Power & Light Associate Director or Supervisor)

Academic Zone Manager

Landscape Services Supervisor

HSPP Zone Manager

FM Service Desk

(Systems Control Center - After-hours)

Maintenance Team

**Figure 2 Organizational Structure – Snow & Utility/Facilities Event**

In most snow events, the Snow Control Officer, with assistance from the Systems Control Center Manager and the Associate Director, HSPP as needed, will coordinate all snow removal activities and report directly to the Director of Operations on snow removal progress. However, as the weather event increases in scope such as a prolonged snow event, loss of utilities, or other facilities related events, other command and control measures will be initiated. Other command and control measures include:

* For Level I, II, & III events, FM Service Desk or Systems Control Center will receive all requests for snow or ice removal. Requests will be sent to the Snow Control Officer, who will determine the priority for all requests received and assign to Landscape Services Supervisor for a Level I event or Snow Zone Manager during a Level II or III as appropriate.
* Level II or III events may require the addition of an Incident Commander. In these situations, the Facilities Management Upper-Level Conference Room may be used as the Control Center.
* The Snow Control Officer:
  + Is responsible for carrying out the snow and ice control plan, for closely monitoring available sources of weather information, and for maintaining liaison with the Virginia Department of Highways and Transportation, the University Police Department and the Office of Emergency Preparedness concerning weather and road conditions
  + Is responsible for scheduled updates to the Facilities Management Leadership on the conditions of roads and sidewalks
    - Level I: As needed
    - Level II: Every two hours
    - Level III: Hourly

## NOTE 1: Snow Zone Supervisors and Managers shall provide the Snow Control Officer

**with updates on the condition of their zone’s sidewalks and roads following the above schedule.**

* + Works closely with Parking & Transportation to determine contractor needs during a storm event; contractors to begin plowing only when directed by the Snow Control Supervisor
* Landscape Services Supervisors and Zone Managers shall check-in/out at the beginning and end of their shift to ensure that the Snow Control Officer has the most current status of their zone’s sidewalks and roads
* Facilities Management designated personnel, who are **NOT** part of zone maintenance shall check-in with their assigned snow zone for their snow removal assignments
* Designated employees are assigned responsibility for clearing steps and walks and shall be held over or called back for such duties as required to assure that essential access, such as egress routes and handicap access is available to all buildings. The Landscape

Services Supervisors and Zone Managers shall initiate “Callback” on the direction of the Snow Control Officer.

### Areas of Responsibility

## Landscape Services Department:

The Facilities Management Landscape Department has primary responsibility for snow removal from all University maintained roads, parking lots and parking structures. They are also the first responders to the removal needs of the academic sidewalks with support from Maintenance Zones and other FM Departments as storms intensify. The Landscape Department also supports the removal efforts of the Health System Physical Plant.

**Health Systems Physical Plant:**

**The Health Systems Physical Plant has primary responsibility for snow and ice removal from all identified sidewalks within the Health System with support from other identified FM Departments**

See link below to the map identifying snow zone information

### Snow Removal Maps

https://[www.fm.virginia.edu/docs/ges/GIS\_SnowRemovalAreas.pdf](http://www.fm.virginia.edu/docs/ges/GIS_SnowRemovalAreas.pdf)

## NOTE 2: Snow and ice control operations can require an extended period of work. Facilities Management supervisors shall manage work assignments so that employees are assigned to shifts, normally not exceeding 12 hours, with rested workers available to continue operations. Any shift that exceeds 12 hours must be approved by a Director.

**NOTE 3: If extended operations are required, adequate sleeping quarters shall be provided for rest between shifts. Programs & Informatics Customer Service Reps will coordinate needed hotel rooms within 48 hours of snow event.**

# Stand Down from Snow Removal Operations

The Snow Control Officer, in discussion with the Director of Operations, Zone Managers, and Landscape Services Supervisors, shall determine when Facilities Management snow removal operations end. Upon the decision to end snow removal operations, the Snow Control Officer shall determine if any follow up service or monitoring is needed. If residual clean up remains,

this will be completed by Landscape Services, Custodial Services, and Zone Maintenance personnel.

# Post Event Activities

### Restocking of Inventory

As soon as practical following an event, all Departments and Maintenance Zones shall complete an inventory of consumable equipment such shovels, PPE, and deicing materials. Replenish those needed items as soon as possible in preparation for the next snow event.

### Cleaning, Evaluation and Repair of Equipment

Equipment operators shall clean and inspect equipment and report any damage, wear, defect, or concern about equipment to **Associate Director of Grounds.** Plow trucks shall be cleaned and inspected for damage or needed repairs**. Those trucks needing repair shall be reported to the Associate Director of Grounds and FM Fleet Manager**

### After-Action Review

An after-action review shall be scheduled within 48 hours of the ending of the event to discuss any needed changes to equipment or personnel deployment and any additional concerns or suggestions. When appropriate, minutes from these discussions should be documented and stored in VEOCI and changes to the snow plan should be made and distributed.

Attendees should include the following or their designee as circumstances dictate:

* + - Director of Operations
    - Director of Health System Physical Plant
    - Director of Energy and Utilities
    - Director of Project Services
    - Associate Director of Grounds
    - Landscape Supervisor Seniors
    - Landscape Area Supervisors
    - Associate Director of Maintenance
    - Associate Director or Manager of Utility Distribution Systems
    - Associate Director of Power & Light
    - Associate Director of Custodial Services
    - Associate Director for Housing
    - Associate Director of Automation Services
    - Associate Director, HSPP
    - Director of Programs and Informatics
    - FM Safety Director
    - HSPP Zone Managers
    - Snow Zone Managers
    - Systems Control Center Manager
    - FM Fleet Manager

# Appendices

### Appendix A: Plow Trucks Assigned

|  |  |  |  |
| --- | --- | --- | --- |
| **Truck Number** | **Org. Assigned** | **Equipment** | **Utilization** |
| 925 | 20235 | Plow & Spreader | Parking Garages |
| 719 | 20235 | Plow & Spreader | Streets, parking lots |
| 720 | 20235 | Plow & Spreader | Streets, parking lots |
| 721 | 20235 | Plow & Spreader | Streets, parking lots |
| 723 | 20235 | Plow & Spreader | Streets, parking lots |
| 726 | 20235 | Plow & Spreader | Streets, parking lots |
| 448 | 20235 | Plow | Streets, parking lots |
| 581 | 20235 | Plow | Streets, parking lots |
| 597 | 20235 | Plow | Streets, parking lots |
| 637 | 20235 | Plow | Streets, parking lots |
| 639 | 20235 | Plow | Streets, parking lots |
| 645 | 20235 | Plow | Streets, parking lots |
| 656 | 20235 | Plow | Streets, parking lots |
| 687 | 20235 | Plow | Streets, parking lots |
| 731 | 20235 | Plow | Streets, parking lots |
| 769 | 20235 | Plow | Streets, parking lots |
| 866 | 20235 | Plow | Streets, parking lots |
| 868 | 20235 | Plow | Streets, parking lots |
| 874 | 20235 | Plow | Streets, parking lots |
|  |  |  |  |
|  |  |  |  |

***Appendix B: Areas Contract for Snow Removal support when necessary***

